## Sheet1
[5 empty] | Resistors (Ohm) | [23 empty] | Biases (V) | [19 empty] | Gains
Shots | ruler (cm) | x from wall (cm) | Orientation | return | RJ1.1 | RJ1.2 | RJ1.3 | RJ1.4 | RJ1.5 | RJ2.1 | RJ2.2 | RJ2.3 | RJ2.4 | RJ2.5 | RJ3.1 | RJ3.2 | RJ3.3 | RJ3.4 | RJ3.5 | RJ4.1 | RJ4.2 | RJ4.3 | RJ4.4 | RJ4.5 | RJ return 1 | RJ return 2 | RJ return 3 | RJ return 4 | B1.1 | B1.2 | B1.3 | B1.4 | B1.5 | B2.1 | B2.2 | B2.3 | B2.4 | B2.5 | B3.1 | B3.2 | B3.3 | B3.4 | B3.5 | B4.1 | B4.2 | B4.3 | B4.4 | B4.5 | 1.1 | 1.2 | 1.3 | 2.1 | 2.2 | 2.3 | 3.1 | 3.2 | 3.3 | 4.1 | 4.2 | 4.3 | Notes
Conditioning Oct 13_17 | [60 empty] | conditioning shots
X | [60 empty] | vacuum shots to determine alingmnet of Bdots
X | [60 empty] | Establish plasma parameters
X
Shots for Constance Poster Oct 18_20
1231020013-017 | 22.5 | 5 | 0 | electrode | 10 | 10 | 10 | 10 |  | 10 | 10 | 10 | 10 |  | 10 | 10 | 10 | 10 |  | 10 | 10 | 10 | 10 |  | 10 | 10 | 10 | 10 | 100 | 100 | 100 | 100 |  | 100 | 100 | 100 | 100 |  | 100 | 100 | 100 | 100 |  | 100 | 100 | 100 | 100 |  | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | tips 11, 22, and 44 are not working. 4Bpd is working although we thourght it was not
1231020018-045 | 22.5 | 5 | 0 | electrode | 20 | 20 | 20 | 20 |  | 20 | 20 | 20 | 20 |  | 20 | 20 | 20 | 20 |  | 20 | 20 | 20 | 20 |  | 20 | 20 | 20 | 10 | 100 | 100 | 100 | 100 |  | 100 | 100 | 100 | 100 |  | 100 | 100 | 100 | 100 |  | 100 | 100 | 100 | 100 |  | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | Noticed signs of arching inside bnc of box 4.3, bnc melted. but tip still works. 4Bpd has an opposite polarity. probably a mistake soldering the leads.
Shot Week Oct 23_27
1231023001-008 | 3 | -14.5 | 90 | electrode | 20 | 20 | 20 | 20 |  | 20 | 20 | 20 | 20 |  | 20 | 20 | 20 | 20 |  | 20 | 20 | 20 | 20 |  | 20 | 20 | 20 | 20 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50
1231023009-015 | 21.5 | 4 | 90 | electrode | 20 | 20 | 20 | 20 |  | 20 | 20 | 20 | 20 |  | 20 | 20 | 20 | 20 |  | 20 | 20 | 2 | 20 |  | 20 | 20 | 20 | 20 | 112 | 112 | 112 | 112 |  | 103 | 114 | 114 | 115 |  | 113 | 113 | 113 | 113 |  | 113 | 113 | 0 | 114 |  | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | Box 4.3 is shorted to ground, disconnected from probe
1231023016-020 | 21.5 | 4 | 90 | electrode | 50 | 50 | 50 | 50 |  | 50 | 50 | 50 | 50 |  | 50 | 50 | 50 | 50 |  | 50 | 50 | 2 | 50 |  | 50 | 50 | 50 | 50 | 89 | 89 | 90 | 90 |  | 94 | 95 | 95 | 95 |  | 91 | 91 | 91 | 91 |  | 95 | 95 | 95 | 95 |  | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50
1231023021-030 | 21.5 | 4 | 90 | electrode | 10 | 10 | 10 | 10 |  | 10 | 10 | 10 | 10 |  | 10 | 10 | 10 | 10 |  | 10 | 10 | 2 | 10 |  | 10 | 10 | 10 | 10 | 151 | 151 | 151 | 151 |  | 150 | 150 | 154 | 155 |  | 153 | 153 | 153 | 153 |  | 146 | 146 | 146 | 146 |  | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50
1231024001-006 | 21.5 | 4 | 90 | electrode | 10 | 10 | 10 | 10 |  | 10 | 10 | 10 | 10 |  | 10 | 10 | 10 | 10 |  | 10 | 10 | 2 | 10 |  | 10 | 10 | 10 | 10 | 148 | 148 | 148 | 148 |  | 149 | 149 | 148 | 148 |  | 150 | 150 | 150 | 150 |  | 150 | 150 | 150 | 150 |  | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50
1231024007-012 | 21.5 | 4 | 90 | electrode | 10 | 10 | 10 | 10 |  | 10 | 10 | 10 | 10 |  | 10 | 10 | 10 | 10 |  | 10 | 10 | 2 | 10 |  | 10 | 10 | 10 | 10 | 148 | 148 | 148 | 148 |  | 149 | 149 | 148 | 148 |  | 150 | 150 | 150 | 150 |  | 150 | 150 | 150 | 150 |  | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50
1231024013-016 | 21.5 | 4 | 90 | electrode | 10 | 10 | 10 | 10 |  | 10 | 10 | 10 | 10 |  | 10 | 10 | 10 | 10 |  | 10 | 10 | 2 | 10 |  | 10 | 10 | 10 | 10 | 179 | 178 | 178 | 178 |  | 182 | 182 | 181 | 182 |  | 186 | 186 | 186 | 186 |  | 181 | 181 | 181 | 181 |  | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50
1231024017-022 | 21.5 | 4 | 90 | electrode | 10 | 10 | 10 | 10 |  | 10 | 10 | 10 | 10 |  | 10 | 10 | 10 | 10 |  | 10 | 10 | 2 | 10 |  | 10 | 10 | 10 | 10 | 179 | 178 | 178 | 178 |  | 182 | 182 | 181 | 182 |  | 186 | 186 | 186 | 186 |  | 181 | 181 | 181 | 181 |  | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | for shot 17 lenghted flattop to get longer sawtooth phase
1231024023 | 21.5 | 4 | 90 | electrode | 10 | 10 | 10 | 10 |  | 10 | 10 | 10 | 10 |  | 10 | 10 | 10 | 10 |  | 10 | 10 | 2 | 10 |  | 10 | 10 | 10 | 10 | 179 | 178 | 178 | 178 |  | 182 | 182 | 181 | 182 |  | 186 | 186 | 186 | 186 |  | 181 | 181 | 181 | 181 |  | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | for shot 23 checked 2b1 and 4b2 they are open. good. swapped 3b2 and 4b2, swapped 1b1 and 2b2. integrator of 4b2 is not workinf
1231024024-028 | 21.5 | 4 | 90 | electrode | 10 | 10 | 10 | 10 |  | 10 | 10 | 10 | 10 |  | 10 | 10 | 10 | 10 |  | 10 | 10 | 2 | 10 |  | 10 | 10 | 10 | 10 | 179 | 178 | 178 | 178 |  | 182 | 182 | 181 | 182 |  | 186 | 186 | 186 | 186 |  | 181 | 181 | 181 | 181 |  | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | for shot 24 swapped 3b2 and 4b2, swapped 1b1 and 2b2 back and sawpped 4b2 with 2b1, 4b2 is good . move 4b2 is now on good integrator, 2b1 isbroken and now on bad integrator
1231024029-037 | 23.5 | 6 | 90 | electrode | 10 | 10 | 10 | 10 |  | 10 | 10 | 10 | 10 |  | 10 | 10 | 10 | 10 |  | 10 | 10 | 2 | 10 |  | 10 | 10 | 10 | 10 | 179 | 178 | 178 | 178 |  | 182 | 182 | 181 | 182 |  | 186 | 186 | 186 | 186 |  | 181 | 181 | 181 | 181 |  | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50
1231024038-043 | 25.5 | 8 | 90 | electrode | 10 | 10 | 10 | 10 |  | 10 | 10 | 10 | 10 |  | 10 | 10 | 10 | 10 |  | 10 | 10 | 2 | 10 |  | 10 | 10 | 10 | 10 | 179 | 178 | 178 | 178 |  | 182 | 182 | 181 | 182 |  | 186 | 186 | 186 | 186 |  | 181 | 181 | 181 | 181 |  | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50
1231024044-045 | 25.5 | 8 | 90 | electrode | 10 | 10 | 10 | 10 |  | 10 | 20 | 10 | 10 |  | 10 | 10 | 10 | 10 |  | 10 | 10 | 2 | 10 |  | 10 | 10 | 10 | 10 | 179 | 178 | 178 | 178 |  | 182 | 182 | 181 | 182 |  | 186 | 186 | 186 | 186 |  | 181 | 181 | 181 | 181 |  | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | increased RJ2 to lower signal, but neded to decrease R instead. Operator said at shot 44 density has increased to 1e19 m-3 will try to correct.
1231024046-049 | 25.5 | 8 | 90 | electrode | 10 | 10 | 10 | 10 |  | 10 | 5 | 10 | 10 |  | 10 | 10 | 10 | 10 |  | 10 | 10 | 2 | 10 |  | 10 | 10 | 10 | 10 | 179 | 178 | 178 | 178 |  | 182 | 182 | 181 | 182 |  | 186 | 186 | 186 | 186 |  | 181 | 181 | 181 | 181 |  | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50
1231024050-057 | 25.5 | 8 | 90 | electrode | 10 | 10 | 10 | 10 |  | 10 | 2 | 10 | 10 |  | 10 | 10 | 10 | 10 |  | 10 | 10 | 2 | 10 |  | 10 | 10 | 10 | 10 | 179 | 178 | 178 | 178 |  | 182 | 182 | 181 | 182 |  | 186 | 186 | 186 | 186 |  | 181 | 181 | 181 | 181 |  | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50
1231024058-061 | 25.5 | 8 | 180 | electrode | 10 | 10 | 10 | 10 |  | 10 | 2 | 10 | 10 |  | 10 | 10 | 10 | 10 |  | 10 | 10 | 2 | 10 |  | 10 | 10 | 10 | 10 | 179 | 178 | 178 | 178 |  | 182 | 182 | 181 | 182 |  | 186 | 186 | 186 | 186 |  | 181 | 181 | 181 | 181 |  | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50
1231024062-072 | 25.5 | 8 | 180 | electrode | 10 | 10 | 10 | 10 |  | 10 | 2 | 10 | 10 |  | 10 | 2 | 10 | 10 |  | 10 | 10 | 2 | 10 |  | 10 | 10 | 10 | 10 | 179 | 178 | 178 | 178 |  | 182 | 182 | 181 | 182 |  | 186 | 186 | 186 | 186 |  | 181 | 181 | 181 | 181 |  | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | Noticed Bcoil 2 connector was loose, fixed it.
1231025001-007 | 5.5 | -12 | 180 | electrode | 10 | 10 | 10 | 10 |  | 10 | 2 | 10 | 10 |  | 10 | 2 | 10 | 10 |  | 10 | 10 | 2 | 10 |  | 10 | 10 | 10 | 10 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | There is a voltage differential error on the PFN banks. shots 1 & 2 did not fire. Will using 200kA for conditioning, instead 160-180kA as we aim for for the probe
1231025008-012 | 25.5 | 8 | 180 | electrode | 10 | 10 | 10 | 10 |  | 10 | 2 | 10 | 10 |  | 10 | 2 | 10 | 10 |  | 10 | 10 | 2 | 10 |  | 10 | 10 | 10 | 10 | 182 | 181 | 181 | 181 |  | 181 | 185 | 185 | 186 |  | 182 | 182 | 182 | 183 |  | 183 | 183 | 183 | 183 |  | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | Isoamps off so no signal on tips
1231025013-022 | 25.5 | 8 | 180 | electrode | 10 | 10 | 10 | 10 |  | 10 | 2 | 10 | 10 |  | 10 | 2 | 10 | 10 |  | 10 | 10 | 2 | 10 |  | 10 | 10 | 10 | 10 | 182 | 181 | 181 | 181 |  | 181 | 185 | 185 | 186 |  | 182 | 182 | 182 | 183 |  | 183 | 183 | 183 | 183 |  | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50
1231025023-027 | 25.5 | 8 | 180 | electrode | 10 | 10 | 10 | 10 |  | 10 | 2 | 10 | 10 |  | 10 | 2 | 10 | 10 |  | 10 | 10 | 2 | 10 |  | 10 | 10 | 10 | 10 | 152 | 152 | 152 | 152 |  | 150 | 153 | 153 | 154 |  | 150 | 150 | 150 | 150 |  | 158 | 156 | 156 | 156 |  | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | Checking Isat regime by decreasing bias to 150V
1231025028-029 | 25.5 | 8 | 180 | electrode | 10 | 10 | 10 | 10 |  | N.C. | 2 | 10 | 10 | 10 | 10 | 2 | 10 | 10 |  | 10 | 10 | N.C. | 10 | 20 | 10 | 10 | 10 | 10 | 183 | 183 | 184 | 181 |  | 182 | 184 | 184 | 185 | 184 | 185 | 184 | 185 | 185 |  | 182 | 182 | 182 | 182 | 182 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 4BTd was on connected to channel 3 of Box4, Box 4.3 channel moved to Box 4.5 4Isat3 is on channel 5, of box 4, 4Isat3 is connected to 8B7 digitizer cable, 2OI connected to moved from channel 1 to channel 5 of box 2, no signal on 3OI
1231025030-034 | 25.5 | 8 | 180 | electrode | 10 | 10 | 10 | 10 |  | N.C. | 2 | 10 | 10 | 10 | 10 | 2 | 10 | 10 |  | 10 | 10 | N.C. | 10 | 20 | 10 | 10 | 10 | 10 | 183 | 183 | 184 | 181 |  | 182 | 184 | 184 | 185 | 184 | 185 | 184 | 185 | 185 |  | 182 | 182 | 182 | 182 | 182 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 3OI isoamp cable was loose, we fixed it.
1231025035-036 | 25.5 | 8 | 270 | electrode | 10 | 10 | 10 | 10 |  | N.C. | 2 | 10 | 10 | 10 | 10 | 2 | 10 | 10 |  | 10 | 10 | N.C. | 10 | 20 | 10 | 10 | 10 | 10 | 183 | 183 | 184 | 181 |  | 182 | 184 | 184 | 185 | 184 | 185 | 184 | 185 | 185 |  | 182 | 182 | 182 | 182 | 182 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50
1231025037-047 | 25.5 | 8 | 270 | electrode | 5 | 10 | 10 | 5 |  | 2 | 2 | 10 | 10 | 5 | 5 | 2 | 10 | 5 |  | 10 | 5 | 2 | 20 | 20 | 10 | 10 | 10 | 10 | 183 | 183 | 184 | 181 |  | 182 | 184 | 184 | 185 | 184 | 185 | 184 | 185 | 185 |  | 182 | 182 | 182 | 182 | 182 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | Adjusted resistors on tips before shot 37
1231025048-050 | 25.5 | 8 | 0 | electrode | 5 | 10 | 10 | 5 |  | 2 | 2 | 10 | 10 | 5 | 5 | 2 | 10 | 5 |  | 10 | 5 | 2 | 20 | 20 | 10 | 10 | 10 | 10 | 183 | 183 | 184 | 181 |  | 182 | 184 | 184 | 185 | 184 | 185 | 184 | 185 | 185 |  | 182 | 182 | 182 | 182 | 182 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | Rotated before 48, head 1 is outboard
1231025051-053 | 25.5 | 8 | 0 | electrode | 5 | 10 | 10 | 5 |  | 2 | 2 | 10 | 10 | 5 | 5 | 5 | 10 | 5 |  | 10 | 5 | 2 | 20 | 20 | 10 | 10 | 10 | 10 | 183 | 183 | 184 | 181 |  | 182 | 184 | 184 | 185 | 184 | 185 | 184 | 185 | 185 |  | 182 | 182 | 182 | 182 | 182 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50
1231025054-055 | 25.5 | 8 | 0 | electrode | 5 | 10 | 10 | 5 |  | 2 | 2 | 10 | 10 | 5 | 5 | 5 | 10 | 5 |  | 10 | 5 | 2 | 20 | 20 | 10 | 10 | 10 | 10 | 183 | 183 | 184 | 181 |  | 182 | 184 | 184 | 185 | 184 | 185 | 184 | 185 | 185 |  | 182 | 182 | 182 | 182 | 182 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 Ohm terminated isoamp of 4Bpd/42
1231025056 | 25.5 | 8 | 0 | electrode | 5 | 10 | 10 | 5 |  | 2 | 2 | 10 | 10 | 5 | 5 | 5 | 10 | 5 |  | 10 | 5 | 2 | 20 | 20 | 10 | 10 | 10 | 10 | 183 | 183 | 184 | 181 |  | 182 | 184 | 184 | 185 | 184 | 185 | 184 | 185 | 185 |  | 182 | 182 | 182 | 182 | 182 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | swapped the input and output of tips 41 and 44 so the signals are digitized on the same digitizer as before but they are using different isoamp channels
1231025057-063 | 25.5 | 8 | 0 | electrode | 5 | 10 | 10 | 5 |  | 2 | 2 | 10 | 10 | 5 | 5 | 5 | 10 | 5 |  | 10 | 5 | 2 | 20 | 20 | 10 | 10 | 10 | 10 | 183 | 183 | 184 | 181 |  | 182 | 184 | 184 | 185 | 184 | 185 | 184 | 185 | 185 |  | 182 | 182 | 182 | 182 | 182 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | swapped back 41 and 44, the isoamp channel of 44 only has 1kOhm impedance but others have >1MOhm, new isoamp box (only 20kHz other boxes have 120kHz)
1231025064-067 | 25.5 | 8 | 0 | electrode | 5 | 10 | 10 | 5 |  | 2 | 2 | 10 | 10 | 5 | 5 | 5 | 10 | 5 |  | 10 | 5 | 2 | 20 | 20 | 10 | 10 | 10 | 10 | 183 | 183 | 184 | 181 |  | 182 | 184 | 184 | 185 | 184 | 185 | 184 | 185 | 185 |  | 182 | 182 | 182 | 182 | 182 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | New isoamp SXR-1, needs +/-5V input voltage, 44->4Isat4->8B-08 to digitizer through isoamp sxr-1 channel 09, total return ->8b14 -> to digitizer through sxr-1 isoamp channel 10
1231025068-070 | 25.5 | 8 | 0 | electrode | 5 | 10 | 10 | 5 |  | 2 | 2 | 10 | 10 | 5 | 5 | 5 | 10 | 5 |  | 10 | 5 | 2 | 20 | 20 | 20 | 20 | 20 | 20 | 183 | 183 | 184 | 181 |  | 182 | 184 | 184 | 185 | 184 | 185 | 184 | 185 | 185 |  | 182 | 182 | 182 | 182 | 182 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | Set highest gain on sxr-1 isoamp (need calibration), after shot 70 probe withdrawn to 6.75on ruler, turn off all banks and isoamps
1231026001-008 | 6.75 | -10.75 | 0 | electrode | [24 empty] | Gains 1.1: 50; Gains 1.2: 50; Gains 1.3: 50; Gains 2.1: 50; Gains 2.2: 50; Gains 2.3: 50; Gains 3.1: 50; Gains 3.2: 50; Gains 3.3: 50; Gains 4.1: 50; Gains 4.2: 50; Gains 4.3: 50 | Establish plasma parameters
1231026009-013 | 25.5 | 8 | 0 | electrode | 5 | 10 | 10 | 5 | N.C. | N.C. | 2 | 10 | 10 | 10 | 5 | 5 | 5 | 10 | N.C. | 10 | 5 | N.C. | 20 | N.C. | 20 | 20 | 20 | 20 | 182 | 183 | 183 | 182 |  | 183 | 182 | 183 | 184 | 173 | 183 | 183 | 183 | 183 |  | 181 | 181 | 181 | 182 | 182 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | Noted the connections of each box to the tips and to the isoamps and digitizers see shotlog for these shots
1231026014-023 | 25.5 | 8 | 45 | electrode | 5 | 10 | 10 | 5 | N.C. | N.C. | 2 | 10 | 10 | 10 | 5 | 5 | 5 | 10 | N.C. | 10 | 5 | N.C. | 20 | N.C. | 20 | 20 | 20 | 20 | 182 | 183 | 183 | 182 |  | 183 | 182 | 183 | 184 | 173 | 183 | 183 | 183 | 183 |  | 181 | 181 | 181 | 182 | 182 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50
1231026024-033 | 25.5 | 8 | 135 | electrode | 5 | 10 | 10 | 5 | N.C. | N.C. | 2 | 10 | 10 | 10 | 5 | 5 | 5 | 10 | N.C. | 10 | 5 | N.C. | 20 | N.C. | 20 | 20 | 20 | 20 | 182 | 183 | 183 | 182 |  | 183 | 182 | 183 | 184 | 173 | 183 | 183 | 183 | 183 |  | 181 | 181 | 181 | 182 | 182 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50
1231026034-044 | 25.5 | 8 | 225 | electrode | 5 | 10 | 10 | 5 | N.C. | N.C. | 2 | 10 | 10 | 10 | 5 | 5 | 5 | 10 | N.C. | 10 | 5 | N.C. | 20 | N.C. | 20 | 20 | 20 | 20 | 182 | 183 | 183 | 182 |  | 183 | 182 | 183 | 184 | 173 | 183 | 183 | 183 | 183 |  | 181 | 181 | 181 | 182 | 182 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50
1231026045-054 | 25.5 | 8 | 315 | electrode | 5 | 10 | 10 | 5 | N.C. | N.C. | 2 | 10 | 10 | 10 | 5 | 5 | 5 | 10 | N.C. | 10 | 5 | N.C. | 20 | N.C. | 20 | 20 | 20 | 20 | 182 | 183 | 183 | 182 |  | 183 | 182 | 183 | 184 | 173 | 183 | 183 | 183 | 183 |  | 181 | 181 | 181 | 182 | 182 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50
1231026055-056 | 27.5 | 10 | 0 | electrode | 5 | 10 | 10 | 5 | N.C. | N.C. | 2 | 10 | 10 | 10 | 5 | 5 | 5 | 10 | N.C. | 10 | 5 | N.C. | 20 | N.C. | 20 | 20 | 20 | 20 | 182 | 183 | 183 | 182 |  | 183 | 182 | 183 | 184 | 173 | 183 | 183 | 183 | 183 |  | 181 | 181 | 181 | 182 | 182 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | Saturation on many Isats, Bdot signals start off normal but then rail
1231026057 | 25.5 | 10 | 0 | electrode | 2 | 5 | 5 | 2 | N.C. | N.C. | 2 | 5 | 5 | 2 | 2 | 2 | 5 | 2 | N.C. | 5 | 2 | N.C. | 10 | N.C. | 10 | 10 | 10 | 10 | Gains 1.1: 10; Gains 1.2: 10; Gains 1.3: 10; Gains 2.1: 10; Gains 2.2: 10; Gains 2.3: 10; Gains 3.1: 10; Gains 3.2: 10; Gains 3.3: 10; Gains 4.1: 10; Gains 4.2: 10; Gains 4.3: 10
1231026058 | 25.5 | 10 | 0 | electrode | [24 empty] | Gains 1.1: 10; Gains 1.2: 10; Gains 1.3: 10; Gains 2.1: 10; Gains 2.2: 10; Gains 2.3: 10; Gains 3.1: 10; Gains 3.2: 10; Gains 3.3: 10; Gains 4.1: 10; Gains 4.2: 10; Gains 4.3: 10
1231026059 | 25.5 | 10 | 0 | electrode | [24 empty] | Gains 1.1: 10; Gains 1.2: 10; Gains 1.3: 10; Gains 2.1: 10; Gains 2.2: 10; Gains 2.3: 10; Gains 3.1: 10; Gains 3.2: 10; Gains 3.3: 10; Gains 4.1: 10; Gains 4.2: 10; Gains 4.3: 10 | vacuum shot, after shot pulled out probe checked Bdot connections found that 2B1 connected to channel 10 of integrator has 328 Ohm resistance
1231027001-010 | 5.5 | -12 | 0 | electrode | [24 empty] | Gains 1.1: 10; Gains 1.2: 10; Gains 1.3: 10; Gains 2.1: 10; Gains 2.2: 10; Gains 2.3: 10; Gains 3.1: 10; Gains 3.2: 10; Gains 3.3: 10; Gains 4.1: 10; Gains 4.2: 10; Gains 4.3: 10 | conditioning shots, achieved 0.6-0.8*10^19 density, took measurements of all tip connections with each other and MST ground. Sheet with results in the shot log folde
1231027011 | 21.5 | 4 | 0 | electrode | [24 empty] | Gains 1.1: 10; Gains 1.2: 10; Gains 1.3: 10; Gains 2.1: 10; Gains 2.2: 10; Gains 2.3: 10; Gains 3.1: 10; Gains 3.2: 10; Gains 3.3: 10; Gains 4.1: 10; Gains 4.2: 10; Gains 4.3: 10 | after shot 50 Ohm terminate 2B1,
1231027012 | 21.5 | 4 | 0 | electrode | [24 empty] | Gains 1.1: 10; Gains 1.2: 10; Gains 1.3: 10; Gains 2.1: 10; Gains 2.2: 10; Gains 2.3: 10; Gains 3.1: 10; Gains 3.2: 10; Gains 3.3: 10; Gains 4.1: 10; Gains 4.2: 10; Gains 4.3: 10 | still see a signal, moved the terminator past the integrator to the digitizer of 2B1
1231027013 | 21.5 | 4 | 0 | electrode | [24 empty] | Gains 1.1: 10; Gains 1.2: 10; Gains 1.3: 10; Gains 2.1: 10; Gains 2.2: 10; Gains 2.3: 10; Gains 3.1: 10; Gains 3.2: 10; Gains 3.3: 10; Gains 4.1: 10; Gains 4.2: 10; Gains 4.3: 10 | on Tuesday we had swapped 2B1 and 4B2 only their inputs into the integrator not the cables from integrator to digitzer, so labeling is off, switching cables back and terminating 2B1 which is the bad Bdot with 257 Ohm
1231027014 | 21.5 | 4 | 0 | electrode | [24 empty] | Gains 1.1: 10; Gains 1.2: 10; Gains 1.3: 10; Gains 2.1: 10; Gains 2.2: 10; Gains 2.3: 10; Gains 3.1: 10; Gains 3.2: 10; Gains 3.3: 10; Gains 4.1: 10; Gains 4.2: 10; Gains 4.3: 10
1231027015 | 21.5 | 4 | 0 | electrode | 2 | 5 | 5 | 2 | N.C. | N.C. | 2 | 5 | 5 | 2 | 2 | 2 | 5 | 2 | N.C. | 5 | 2 | N.C. | 10 | N.C. | 10 | 10 | 10 | 10 | 186 | 185 | 185 | 185 | 186 | 185 | 181 | 184 | 185 | 164 | 187 | 187 | 187 | 187 | 137 | 184 | 184 | 184 | 184 | 184 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 15 is first shot with tip bias on, 4Btd was plugged in but will unplug next sho
1231027016-022 | 23.5 | 6 | 0 | electrode | 2 | 5 | 5 | 2 | N.C. | N.C. | 2 | 5 | 5 | 2 | 2 | 2 | 5 | 2 | N.C. | 5 | 2 | N.C. | 10 | N.C. | 10 | 10 | 10 | 10 | 186 | 185 | 185 | 185 | 186 | 185 | 181 | 184 | 185 | 164 | 187 | 187 | 187 | 187 | 137 | 184 | 184 | 184 | 184 | 184 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | trying to get good reference shot at 6cm but MST is terminating
1231027023-024 | 21.5 | 4 | 0 | electrode | 2 | 5 | 5 | 2 | N.C. | N.C. | 2 | 5 | 5 | 2 | 2 | 2 | 5 | 2 | N.C. | 5 | 2 | N.C. | 10 | N.C. | 10 | 10 | 10 | 10 | 186 | 185 | 185 | 185 | 186 | 185 | 181 | 184 | 185 | 164 | 187 | 187 | 187 | 187 | 137 | 184 | 184 | 184 | 184 | 184 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | move probe back 2cm to see if we can get to good shots
1231027025 | 5.5 | -12 | 0 | electrode | [24 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | probe withdrawn but still MST terminates within 5ms. After 1 hour PDC good plasma was established again.
Total Shots: | 256
WEEK 2
1231108001 | 25.5 | 8 | 0? | electrode | [24 empty] | Gains 1.1: 10; Gains 1.2: 10; Gains 1.3: 10; Gains 2.1: 10; Gains 2.2: 10; Gains 2.3: 10; Gains 3.1: 10; Gains 3.2: 10; Gains 3.3: 10; Gains 4.1: 10; Gains 4.2: 10; Gains 4.3: 10 | Vacuum Shots - Magnetic channel 1B1 seems to be down (measuring 2.5 Ohm across it, check cables but no loose connection found), hooked up all Bdot probes and Tips as shown in Connecyion diagrams by Constance. (except 2Br and 2B2 swaped due to interal wiring, as before), 4bpu is unplugged as before, connections in rack recorded in written shotlog
1231108002 | 27.5 | 10 | 0? | electrode | [24 empty] | Gains 1.1: 10; Gains 1.2: 10; Gains 1.3: 10; Gains 2.1: 10; Gains 2.2: 10; Gains 2.3: 10; Gains 3.1: 10; Gains 3.2: 10; Gains 3.3: 10; Gains 4.1: 10; Gains 4.2: 10; Gains 4.3: 10 | Vacuum Shots - 0 degree alignment seems to be off. Abdulgader suggests adjusting gains on B1 and B2 channels and taking arctan of peak ratios to estimate degree misalignment
1231108003 | 27.5 | 10 | 0? | electrode | [24 empty] | Gains 1.1: 20; Gains 1.2: 50; Gains 1.3: 50; Gains 2.1: N.C.; Gains 2.2: 50; Gains 2.3: 50; Gains 3.1: 20; Gains 3.2: 50; Gains 3.3: 50; Gains 4.1: 20; Gains 4.2: 50; Gains 4.3: 50 | Vacuum Shots - Full magnetics data available only for Probes 3 and 4. Mean misalignment is ~16.9 degrees
1231108004 | 27.5 | 10 | 0 | electrode | [24 empty] | Gains 1.1: 20; Gains 1.2: 50; Gains 1.3: 50; Gains 2.1: N.C.; Gains 2.2: 50; Gains 2.3: 50; Gains 3.1: 20; Gains 3.2: 50; Gains 3.3: 50; Gains 4.1: 20; Gains 4.2: 50; Gains 4.3: 50 | Vacuum Shots - Rotated probe 16 degrees clockwise. Mean misalignment is now ~13.6 degrees, with Probe 4 at 4.9 degrees. Comparison to old 0 degree shots seem to correlate; calling this orientation 0 degrees.
1231108005-010 | 5.75 | -11.75 | 0 | electrode | [24 empty] | Gains 1.1: 20; Gains 1.2: 50; Gains 1.3: 50; Gains 2.1: N.C.; Gains 2.2: 50; Gains 2.3: 50; Gains 3.1: 20; Gains 3.2: 50; Gains 3.3: 50; Gains 4.1: 20; Gains 4.2: 50; Gains 4.3: 50 | Conditioning Shots & Establish plasma - Pulled probe out
1231108011-012 | 23.5 | 6 | 0 | electrode | 10 | N.C. | 10 | 10 | N.C. | N.C. | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | N.C. | 10 | 10 | N.C. | 10 | N.C. | 10 | 10 | 10 | 10 | 186 | 185 | 185 | 185 | 186 | 178 | 179 | 178 | 179 | 176 | 188 | 188 | 188 | 188 | 188 | 186 | 186 | 186 | 186 | 186 | 50 | 50 | 50 | N.C. | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | Inserted probe to 6 cm, tip signals very noisy. Ran for ~25 shots to clean tips, some confusion about reversal surface location, one Btor is going to zero but this may be due to Bpol pickup
1231108013-014 | 23.5 | 6 | 0 | electrode | 2 | N.C. | 2 | 2 | N.C. | N.C. | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | N.C. | 2 | 2 | N.C. | 2 | N.C. | 10 | 10 | 10 | 10 | 186 | 185 | 185 | 185 | 186 | 178 | 179 | 178 | 179 | 176 | 188 | 188 | 188 | 188 | 188 | 186 | 186 | 186 | 186 | 186 | 50 | 50 | 50 | N.C. | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50
1231108015-035 | 23.5 | 6 | 0 | electrode | 10 | N.C. | 10 | 10 | N.C. | N.C. | 10 | 10 | 10 | 10 | 5 | 5 | 5 | 5 | N.C. | 10 | 10 | N.C. | 10 | N.C. | 20 | 20 | 20 | 20 | 186 | 185 | 185 | 185 | 186 | 178 | 179 | 178 | 179 | 176 | 188 | 188 | 188 | 188 | 188 | 186 | 186 | 186 | 186 | 186 | 50 | 50 | 50 | N.C. | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | End of Day left probe at 6cm during PDC to clean
1231109001 | 23.5 | 6 | 0 | electrode | [24 empty] | Gains 1.1: 50; Gains 1.2: 50; Gains 1.3: 50; Gains 2.1: N.C.; Gains 2.2: 50; Gains 2.3: 50; Gains 3.1: 50; Gains 3.2: 50; Gains 3.3: 50; Gains 4.1: 50; Gains 4.2: 50; Gains 4.3: 50 | Vacuum Shot
1231109002-010 | 5 | -12.5 | 0 | electrode | [24 empty] | Gains 1.1: 50; Gains 1.2: 50; Gains 1.3: 50; Gains 2.1: N.C.; Gains 2.2: 50; Gains 2.3: 50; Gains 3.1: 50; Gains 3.2: 50; Gains 3.3: 50; Gains 4.1: 50; Gains 4.2: 50; Gains 4.3: 50 | Pulled probe out; plasma conditioning shots
1231109011-014 | 21.5 | 4 | 0 | electrode | 2 | N.C. | 2 | 2 | N.C. | N.C. | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | N.C. | 2 | 2 | N.C. | 2 | N.C. | 20 | 20 | 20 | 20 | 120 | 120 | 120 | 120 | 120 | 120 | 120 | 120 | 120 | 120 | 120 | 120 | 120 | 120 | 120 | 120 | 120 | 120 | 120 | 120 | 50 | 50 | 50 | N.C. | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | Inserted probe to 4cm, Bias only approx 120V, not measured in detail
1231109015-026 | 23.5 | 6 | 0 | electrode | 2 | N.C. | 2 | 2 | N.C. | N.C. | 2 | 2 | 2 | 2 | 5 | 5 | 5 | 5 | N.C. | 2 | 2 | N.C. | 2 | N.C. | 20 | 20 | 20 | 20 | 182 | 182 | 182 | 182 | 182 | 180 | 182 | 182 | 183 | 178 | 180 | 180 | 180 | 180 | 180 | 183 | 183 | 183 | 183 | 183 | 50 | 50 | 50 | N.C. | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | Inserted probe to 6cm
1231109027-046 | 23.5 | 6 | 0 | electrode | 5 | N.C. | 5 | 10 | N.C. | N.C. | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | N.C. | 5 | 10 | N.C. | 2 | N.C. | 50 | 50 | 50 | 50 | 182 | 182 | 182 | 182 | 182 | 180 | 182 | 182 | 183 | 178 | 180 | 180 | 180 | 180 | 180 | 183 | 183 | 183 | 183 | 183 | 50 | 50 | 50 | N.C. | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | first 10 shots still conditioning, last 10 shots are good
1231109047-048 | 23.5 | 6 | 270 | electrode | 5 | N.C. | 5 | 10 | N.C. | N.C. | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | N.C. | 5 | 10 | N.C. | 2 | N.C. | 50 | 50 | 50 | 50 | 182 | 182 | 182 | 182 | 182 | 180 | 182 | 182 | 183 | 178 | 180 | 180 | 180 | 180 | 180 | 183 | 183 | 183 | 183 | 183 | 50 | 50 | 50 | N.C. | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 2 shots to determine Rj levels at 270 degrees
1231109049-073 | 23.5 | 6 | 270 | electrode | 2 | N.C. | 2 | 5 | N.C. | N.C. | 2 | 5 | 10 | 2 | 5 | 10 | 10 | 10 | N.C. | 5 | 10 | N.C. | 2 | N.C. | 50 | 50 | 50 | 50 | 182 | 182 | 182 | 182 | 182 | 180 | 182 | 182 | 183 | 178 | 180 | 180 | 180 | 180 | 180 | 183 | 183 | 183 | 183 | 183 | 50 | 50 | 50 | N.C. | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | first 15 shots have spikes and wierd diagnonal drop on tip31, last 10 are ok
1231109074-076 | 23.5 | 6 | 180 | electrode | 3 | N.C. | 2 | 5 | N.C. | N.C. | 2 | 5 | 10 | 2 | 5 | 10 | 10 | 10 | N.C. | 5 | 10 | N.C. | 2 | N.C. | 50 | 50 | 50 | 50 | 182 | 182 | 182 | 182 | 182 | 180 | 182 | 182 | 183 | 178 | 180 | 180 | 180 | 180 | 180 | 183 | 183 | 183 | 183 | 183 | 50 | 50 | 50 | N.C. | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | Rotate to 180 degree orientation, run 3 shots to establish base voltage
1231110001-007 | 5 | -12.5 | 180 | electrode | [56 empty] | Plasma Conditioning Shots
1231110008-010 | 21.5 | 4 | 180 | electrode | 2 | N.C. | 2 | 5 | N.C. | N.C. | 2 | 5 | 10 | 2 | 5 | 10 | 10 | 10 | N.C. | 5 | 10 | N.C. | 2 | N.C. | 50 | 50 | 50 | 50 | 127 | 127 | 127 | 112 | 127 | 127 | 126 | 127 | 127 | 127 | 127 | 127 | 127 | 127 | 127 | 126 | 126 | 126 | 126 | 126 | 50 | 50 | 50 | N.C. | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | Three shots at 4cm, 120V bias
1231110011-019 | 23.5 | 6 | 180 | electrode | 2 | N.C. | 2 | N.C. | 5 | N.C. | 2 | 5 | 10 | 2 | 5 | 10 | 10 | 10 | N.C. | 5 | 10 | N.C. | 2 | N.C. | 50 | 50 | 50 | 50 | 185 | 185 | 185 | 165 | 185 | 182 | 180 | 182 | 183 | 179 | 185 | 185 | 185 | 185 | 185 | 189 | 189 | 189 | 189 | 189 | 50 | 50 | 50 | N.C. | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | Box 1 Cap 4 not holding charge; moved 1BTu from RJ1.4 to RJ1.5
1231110020-039 | 23.5 | 6 | 180 | electrode | 2 | N.C. | 5 | N.C. | 10 | N.C. | 2 | 10 | 10 | 5 | 5 | 10 | 10 | 10 | N.C. | 10 | 10 | N.C. | 2 | N.C. | 50 | 50 | 50 | 50 | 185 | 185 | 185 | 165 | 185 | 182 | 180 | 182 | 183 | 179 | 185 | 185 | 185 | 185 | 185 | 189 | 189 | 189 | 189 | 189 | 50 | 50 | 50 | N.C. | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | Low signals; doubled gain on 1BTd, 1BTu, 2Bpd, 4OI, 2OI
1231110040-042 | 23.5 | 6 | 90 | electrode | 2 | N.C. | 5 | N.C. | 10 | N.C. | 2 | 10 | 10 | 5 | 5 | 10 | 10 | 10 | N.C. | 10 | 10 | N.C. | 2 | N.C. | 50 | 50 | 50 | 50 | 185 | 185 | 185 | 165 | 185 | 182 | 180 | 182 | 183 | 179 | 185 | 185 | 185 | 185 | 185 | 189 | 189 | 189 | 189 | 189 | 50 | 50 | 50 | N.C. | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 3B1 showing railing behaviour
1231110043-045 | 23.5 | 6 | 90 | electrode | 2 | N.C. | 5 | N.C. | 5 | N.C. | 2 | 5 | 10 | 5 | 5 | 10 | 10 | 10 | N.C. | 10 | 10 | N.C. | 2 | N.C. | 50 | 50 | 50 | 50 | 185 | 185 | 185 | 165 | 185 | 182 | 180 | 182 | 183 | 179 | 185 | 185 | 185 | 185 | 185 | 189 | 189 | 189 | 189 | 189 | 50 | 50 | 50 | N.C. | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | Increased gain x2 for 4OO, 3BTu, 3OI
1231110046-047 | 23.5 | 6 | 90 | electrode | 2 | N.C. | 5 | N.C. | 5 | N.C. | 2 | 5 | 10 | 5 | 2 | 10 | 10 | 20 | N.C. | 10 | 20 | N.C. | 2 | N.C. | 50 | 50 | 50 | 50 | 185 | 185 | 185 | 165 | 185 | 182 | 180 | 182 | 183 | 179 | 185 | 185 | 185 | 185 | 185 | 189 | 189 | 189 | 189 | 189 | 50 | 50 | 50 | N.C. | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | Checked 3B1 connection
1231110048-049 | 23.5 | 6 | 90 | electrode | 2 | N.C. | 5 | N.C. | 5 | N.C. | 2 | 5 | 10 | 5 | 2 | 10 | 10 | 20 | N.C. | 10 | 20 | N.C. | 2 | N.C. | 50 | 50 | 50 | 50 | 185 | 185 | 185 | 165 | 185 | 182 | 180 | 182 | 183 | 179 | 185 | 185 | 185 | 185 | 185 | 189 | 189 | 189 | 189 | 189 | 50 | 50 | 50 | N.C. | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | Unplugged 3B1
1231110050-060 | 23.5 | 6 | 90 | electrode | 2 | N.C. | 5 | N.C. | 5 | N.C. | 2 | 5 | 10 | 5 | 2 | 5 | 10 | 20 | N.C. | 10 | 20 | N.C. | 2 | N.C. | 50 | 50 | 50 | 50 | 185 | 185 | 185 | 165 | 185 | 182 | 180 | 182 | 183 | 179 | 185 | 185 | 185 | 185 | 185 | 189 | 189 | 189 | 189 | 189 | 50 | 50 | 50 | N.C. | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | Good, steady series of 10 shots
1231110061 | 23.5 | 6 | 0 | electrode | 2 | N.C. | 5 | N.C. | 5 | N.C. | 2 | 5 | 10 | 5 | 2 | 5 | 10 | 20 | N.C. | 10 | 20 | N.C. | 2 | N.C. | 50 | 50 | 50 | 50 | 185 | 185 | 185 | 165 | 185 | 182 | 180 | 182 | 183 | 179 | 185 | 185 | 185 | 185 | 185 | 189 | 189 | 189 | 189 | 189 | 50 | 50 | 50 | N.C. | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | Single shot at 0 degrees with 3B1 plugged back in, in preparation for 10cm next shot
1231110062-064 | 27.5 | 10 | 0 | electrode | 2 | N.C. | 5 | N.C. | 5 | N.C. | 2 | 5 | 10 | 5 | 2 | 5 | 10 | 20 | N.C. | 10 | 20 | N.C. | 2 | N.C. | 50 | 50 | 50 | 50 | 185 | 185 | 185 | 165 | 185 | 182 | 180 | 182 | 183 | 179 | 185 | 185 | 185 | 185 | 185 | 189 | 189 | 189 | 189 | 189 | 50 | 50 | 50 | N.C. | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | Railing observed on magnetics probes 3B2 and 3BR
1231110065 | 27.5 | 10 | 0 | electrode | 2 | N.C. | 5 | N.C. | 5 | N.C. | 2 | 2 | 10 | 5 | 2 | 5 | 10 | 20 | N.C. | 10 | 20 | N.C. | 2 | N.C. | 50 | 50 | 50 | 50 | 185 | 185 | 185 | 165 | 185 | 182 | 180 | 182 | 183 | 179 | 185 | 185 | 185 | 185 | 185 | 189 | 189 | 189 | 189 | 189 | 50 | 50 | 50 | N.C. | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 2BR and 2B2 sampling 3B2 signal (?)
1231110066-067 | 27.5 | 10 | 0 | electrode | 2 | N.C. | 5 | N.C. | 5 | N.C. | 2 | 2 | 10 | 5 | 2 | 5 | 10 | 20 | N.C. | 10 | 20 | N.C. | 2 | N.C. | 50 | 50 | 50 | 50 | 185 | 185 | 185 | 165 | 185 | 182 | 180 | 182 | 183 | 179 | 185 | 185 | 185 | 185 | 185 | 189 | 189 | 189 | 189 | 189 | 50 | 50 | 50 | N.C. | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | Major failure for Probe 3 Magnetics - 3B1, 3B2, 3BR all disconnected. All three probes suffered short to chamber (ground). Resistance/grounding of other probes (Mach tips) tested; Tip 3OI has unusually low resistance to ground (2.8k ohm)
1231110068-069 | 27.5 | 10 | 0 | electrode | 2 | N.C. | 5 | N.C. | 5 | N.C. | 2 | 2 | 10 | 5 | 2 | 5 | 10 | 20 | N.C. | 10 | 20 | N.C. | 2 | N.C. | 50 | 50 | 50 | 50 | 185 | 185 | 185 | 165 | 185 | 182 | 180 | 182 | 183 | 179 | 185 | 185 | 185 | 185 | 185 | 189 | 189 | 189 | 189 | 189 | 50 | 50 | 50 | N.C. | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | Tip 3OI disconnected to test affect on other Probe 3 tips
1231110070-075 | 27.5 | 10 | 0 | electrode | 2 | N.C. | 5 | N.C. | 5 | N.C. | 2 | 2 | 10 | 5 | 2 | 5 | 10 | 20 | N.C. | 10 | 20 | N.C. | 2 | N.C. | 50 | 50 | 50 | 50 | 185 | 185 | 185 | 165 | 185 | 182 | 180 | 182 | 183 | 179 | 185 | 185 | 185 | 185 | 185 | 189 | 189 | 189 | 189 | 189 | 50 | 50 | 50 | N.C. | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | Tip 1BTd (12) shorted to ground (4 ohm), so disconnected. Tip 3OI resistance to ground dropped to 1.4k ohm
1231110076-080 | 27.5 | 10 | 0 | electrode | 2 | N.C. | 5 | N.C. | 5 | N.C. | 2 | 2 | 10 | 5 | 2 | 5 | 10 | 20 | N.C. | 10 | 20 | N.C. | 2 | N.C. | 50 | 50 | 50 | 50 | 185 | 185 | 185 | 165 | 185 | 182 | 180 | 182 | 183 | 179 | 185 | 185 | 185 | 185 | 185 | 189 | 189 | 189 | 189 | 189 | 50 | 50 | 50 | N.C. | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | RECONNECTED Tip 3OI - resistance to ground increased back to 300k ohm
1231110081-082 | 27.5 | 10 | 180 | electrode | 2 | N.C. | 5 | N.C. | 10 | N.C. | 2 | 5 | 10 | 5 | 2 | 5 | 10 | 20 | N.C. | 10 | 20 | N.C. | 2 | N.C. | 50 | 50 | 50 | 50 | 185 | 185 | 185 | 165 | 185 | 182 | 180 | 182 | 183 | 179 | 185 | 185 | 185 | 185 | 185 | 189 | 189 | 189 | 189 | 189 | 50 | 50 | 50 | N.C. | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | Negative excursions noted on Tip 2BPd and 1BTu - increased gain x2 on both. Rotated to 180 degrees
1231110083-090 | 27.5 | 10 | 180 | electrode | 2 | N.C. | 5 | N.C. | 5 | N.C. | 2 | 5 | 10 | 2 | 2 | 5 | 10 | 20 | N.C. | 5 | 10 | N.C. | 2 | N.C. | 50 | 50 | 50 | 50 | 185 | 185 | 185 | 165 | 185 | 182 | 180 | 182 | 183 | 179 | 185 | 185 | 185 | 185 | 185 | 189 | 189 | 189 | 189 | 189 | 50 | 50 | 50 | N.C. | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | Lots of saturation noted; decreasing gain x2 for Tips 1BTu, 2OI, 4OI, 400. Magnetics on Probe 2 seem to be saturating but resistances and ground are OK
1231110091-092 | 27.5 | 10 | 90 | electrode | 2 | N.C. | 5 | N.C. | 5 | N.C. | 2 | 5 | 10 | 2 | 2 | 5 | 10 | 20 | N.C. | 5 | 10 | N.C. | 2 | N.C. | 50 | 50 | 50 | 50 | 185 | 185 | 185 | 165 | 185 | 182 | 180 | 182 | 183 | 179 | 185 | 185 | 185 | 185 | 185 | 189 | 189 | 189 | 189 | 189 | 50 | 50 | 50 | N.C. | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | Rotated to 90 degrees. Unplugging and replugging Magnetics Probes 2B2 and 2BR from Integrator seems to abate magnetic saturation, temporarily
1231110093-100 | 27.5 | 10 | 90 | electrode | 2 | N.C. | 5 | N.C. | 5 | N.C. | 2 | 2 | 10 | 2 | 2 | 5 | 10 | 10 | N.C. | 5 | 10 | N.C. | 2 | N.C. | 50 | 50 | 50 | 50 | 185 | 185 | 185 | 165 | 185 | 182 | 180 | 182 | 183 | 179 | 185 | 185 | 185 | 185 | 185 | 189 | 189 | 189 | 189 | 189 | 50 | 50 | 50 | N.C. | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | New Mach signal saturation observed; decreasing gain x2 on Tips 2BPd and 3BTu. Unplug/replug Magnetics Probe 2BR. Shot 100 looks good
1231110101-104 | 27.5 | 10 | 270 | electrode | 2 | N.C. | 5 | N.C. | 5 | N.C. | 2 | 5 | 10 | 2 | 2 | 5 | 10 | 20 | N.C. | 5 | 10 | N.C. | 2 | N.C. | 50 | 50 | 50 | 50 | 185 | 185 | 185 | 165 | 185 | 182 | 180 | 182 | 183 | 179 | 185 | 185 | 185 | 185 | 185 | 189 | 189 | 189 | 189 | 189 | 50 | 50 | 50 | N.C. | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | Rotated to 270 degrees. Increase gain x2 on Tip 2BPd (24). Unplug/replug Magnetics Probes 1BR and 2BR. Accidentally swapped 1BR into 3B2 Integrator Port (8A-15)
1231110105-110 | 27.5 | 10 | 270 | electrode | 2 | N.C. | 5 | N.C. | 2 | N.C. | 2 | 5 | 10 | 2 | 2 | 5 | 20 | 20 | N.C. | 5 | 10 | N.C. | 2 | N.C. | 50 | 50 | 50 | 50 | 185 | 185 | 185 | 165 | 185 | 182 | 180 | 182 | 183 | 179 | 185 | 185 | 185 | 185 | 185 | 189 | 189 | 189 | 189 | 189 | 50 | 50 | 50 | N.C. | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | Swap 1BR back into place on Integrator (8B-09). Decrease gain x2 on Tip 1BTu (14), increase gain x2 on Tip 3BTd (34). Losing signals on Tip 3BTu, 3BTd. Completely lost Magnetics on Probe 2 by end. FIN
DONE