## Sheet1
good shots Poloidal current 180 kA , density 8e15 cm^-3, F=-0.15
measured tip baises
Shots | Location (cm) | Orientation | return | RJ1 (Ohm) | RJ2 (Ohm) | RJ3 (Ohm) | RJ4 (Ohm) | RJ5 (Ohm) | RJ6 (Ohm) | RJ return | Bias Bank (V) | Bias 1 (V) | Bias 2 (V) | Bias 3 (V) | Bias 4 (V) | Bias 5 (V) | Bias 6 (V) | Gain 1 | Gain 1 | Gain 3 | Gain 4 | Gain 5 | Gain 6 | Gain B1 p | Gain B2 r | Gain B3 t | Notes
1210818011-014 | 5 | 0 | 2 | 20 | 20 | 20 | 20 | 20 | 20 | 2 |  | 167.6 | 167.6 | 167.6 | 167.6 | 167.6 | 167.6 | 1 | 1 | 1 | 1 | 1 | 1 | 50 | 50 | 50 | Conditioning shots
1210818015-029 | 5 | 0 | 2 | 20 | 20 | 20 | 20 | 20 | 20 | 2 |  | 250.5 | 250.5 | 250.5 | 250.5 | 250.5 | 250.5 | 1 | 1 | 1 | 1 | 1 | 1 | 50 | 50 | 50
1210818030-039 | 5 | 0 | 1 | 20 | 20 | 20 | 20 | 20 | 20 | 2 |  | 252 | 252 | 252 | 252 | 252 | 252 | 1 | 1 | 1 | 1 | 1 | 1 | 50 | 50 | 50 | Disconnected B2 befor shot 30
1210818040-049 | 5 | 0 | 3 | 20 | 20 | 20 | 20 | 20 | 20 | 2 |  | 252 | 252 | 252 | 252 | 252 | 252 | 1 | 1 | 1 | 1 | 1 | 1 | 50 | 1 | 50
1210818050-056 | 5 | 0 | 4 | 20 | 20 | 20 | 20 | 20 | 20 | 2 |  | 252 | 252 | 252 | 252 | 252 | 252 | 1 | 1 | 1 | 1 | 1 | 1 | 50 | 1 | 50
1210818057-061 | 5 | 0 | 5 | 20 | 20 | 20 | 20 | 20 | 20 | 2 |  | 253 | 253 | 253 | 253 | 253 | 253 | 1 | 1 | 1 | 1 | 1 | 1 | 50 | 1 | 50
1210818062-063 | 10 | 0 | 4 | 20 | 20 | 20 | 20 | 20 | 20 | 2 |  | 253 | 253 | 253 | 253 | 253 | 253 | 1 | 1 | 1 | 1 | 1 | 1 | 50 | 1 | 50 | Saturated Current. We also see where we believe 2 and 3 begin to short
1210818064-068 | 10 | 0 | 4 | 5 | 5 | 5 | 5 | 5 | 5 | 2 |  | 254 | 254 | 254 | 254 | 254 | 254 | 1 | 1 | 1 | 1 | 1 | 1 | 50 | 1 | 50 | B1 goes bad at shot 64
1210818069-073 | 10 | 0 | 3 | 5 | 5 | 5 | 5 | 5 | 5 | 2 |  | 254.5 | 254.5 | 254.5 | 254.5 | 254.5 | 254.5 | 1 | 1 | 1 | 1 | 1 | 1 | 50 | 1 | 50
1210818074-076 | 10 | 0 | 1 | 5 | 5 | 5 | 5 | 5 | 5 | 2 |  | 254 | 254 | 254 | 254 | 254 | 254 | 1 | 1 | 1 | 1 | 1 | 1 | 50 | 1 | 50 | B1 disconnected befor shot 74, found to be shorted to MST. Shot 74 has weird tip electrode readings and BR goes bad.
1210818077-080 | 10 | 0 | 2 | 5 | 5 | 5 | 5 | 5 | 5 | 2 |  | 254 | 254 | 254 | 254 | 254 | 254 | 1 | 1 | 1 | 1 | 1 | 1 | 50 | 1 | 50 | Disconnected BR before shot 81
1210818081-082 | 5 | 0 | 2 | 5 | 5 | 5 | 5 | 5 | 5 | 2 |  | 150 | 150 | 150 | 150 | 150 | 150 | 1 | 1 | 1 | 1 | 1 | 1 | 50 | 1 | 50
All shots were at full PFN. At the end of the day we found P2 and P3 to be shorted to each other and to MST. There were also irregular readings from some of the other electrodes as well, but they were still within an acceptable range. In looking at the coils we found that all of them were open at the BNCs, meaning that all the coils are broken in at least one location. None of the tips were shorted to the cables at the BNCs, but due to the possibility of multiple breaks in the coil this doesn't mean that they couldn't be shorted elsewhere.